## PANU
Last updated 19 Aug 2015
| HPGe Clover | LaBr3:Ce | LaBr direct (JYFL) | Beta Plastic (Madrid) | Beta (Bucharest) | Proton (NIM) | TAC | Pulser
CFD Threshold | 20 | 20 | 40 | 20 | 15 | 40 | 40 | 40
TFA Shaping Time | 120 | 120 | 200 | 120 | 120 | 120 | 120 | 120
Shaping Time | 4 | 6.4 | 2.28 | 6.4 | 7.4 | 4 | 1.2 | 1.2
Rise Time | 2.52 | 3.2 | 2.12 | 3.2 | 6.2 | 3.2 | 0.8 | 0.8
Peak Sample | 3.8 | 5 | 2.17 | 5 | 4 | 3.8 | 1.11 | 1
Peak Separation | 7 | 10.5 | 4.5 | 10.5 | 7 | 8 | 3.8 | 3
Decay Time Const | 55.555 | 10.999 | 9.1 | 10.999 | 5.7993 | 999.62 | 10015 | 99.996
Energy Digital Gain | 2 | 8 | 8 | 8 | 8 | OFF | 8 | 8
Trigger Polarity | POS | NEG | NEG | NEG | POS | NEG / POS | NEG | NEG
NOTE: The GO-box is inverting the signals

## LaBr3Ce
|  |  | FWHM | fwhm(keV) | E(keV)
|  | 1603.97 | 55.67 | 43.2449 | 1173.2
|  | 1809.04 | 60.39 | 46.9114 | 1332.5
2505.7
|  | m= | 0.77681
|  | q= | -72.7766
ene=q+m*ch
Pre-AMPLIFIER
| RC | Det #1 (UCM) | Det #2 | Det #3 (IFIN)
cfd threshold | 40 | 40 |  | 40 | 40 | 40
TFA shaping | 120 | 120 |  | 100 | 100 | 100
shaping time (micros) | 2 | 10 |  | 6.4 | 6.4 | 6.4
rise time | 1 | 1 |  | 3.2 | 3.2 | 3.2
peak sample | 1.8 | 1.8 |  | 4.8 | 4.8 | 4.8
peak separation | 3 | 15 |  | 20 | 20 | 20
decay time | 15 | 50 |  | 11 | 11 | 11
digital gain | 8 | 8 |  | 8 | 8 | 8
offset | 0 | 0 |  | 50mv | 50mv | 50mv
Pre-amp integration time | 1000 |  |  | 200 | 500 | 1000
1332 keV (60Co)
CHAN |  |  |  | 1937.24 | 1603.97 | 1508.51
FWHM (keV) | 55 | 47.23 |  | 44.841 | 46.9114 | 45.2901

## HPGe(Clover)
cfd threshold | 40 |  |  |  |  | 40
TFA shaping | 120 |  |  |  |  | 120
shaping time (micros) | 10 |  |  |  |  | 10
rise time | 9.44 |  | 5 | 5 |  | 5
peak sample | 9.43 |  |  |  |  | 9.43
peak separation | 22.22 |  |  |  |  | 22.22
decay time | 55.554 |  |  |  |  | 55.554
digital gain | 2 |  |  | 4 |  | 2
offset |  |  |  | 100 | 0 | 0
GROUNDED
resolutions
1 |  | NE |  | 2.3611 |  | 2.07
2 |  | NE |  | 2.0924 |  | 2.04
3 |  | NE |  | 2.2105 |  | 2.18
4 |  | NE |  | 2.2785 |  | 2
5 |  | ??? |  | 2.2624 |  | 2.09
6 |  | NE |  | 2.4614 |  | 1.98
7 |  | ??? |  | 2.541 |  | 1.96
8 |  | ??? |  | 2.818 |  | 2.09
9 |  | ??? |  | 2.662 |  | 2.14
10 | 6.1777 |  | 2.1914 |  |  | 2.12
11 |  | NE |  | ??? |  | 2.13
12 |  | NE |  | 2.402 | 2.388 | 2.19
13 | 6.0785 |  | 2.1816 |  |  | 2.1
14 | 6.026 |  | 2.3355 |  |  | 2.15
15 | 6.5671 |  | 2.4379 |  |  | 2.1
16 | 5.8115 |  | 2.1763 | 2.1034 |  | 1.94
Peak @ 1332 | ~ 8000 ch

## TAC
|  | CHAN | FWHM | fwhm(ps) | Delay(ps)
|  | 5305.93 | 9.26 | 48.7194 | 10000
|  | 7206.61 | 9.85 | 51.8236 | 20000
30000
|  | m= | 5.2613
|  | q= | -17915.9564
time=q+m*ch
| Front output (not working fine) 10Ohm |  |  | Back output 93Ohm
cfd threshold | 57 | 57 | 57 | 57 | 57
TFA shaping | 120 | 120 | 120 | 120 | 120
shaping time (micros) | 1.2 | 1.2 | 1.2 | 1.2 | 1.2
rise time | 0.4 | 0.4 | 0.4 | 0.4 | 0.4
peak sample | 1 | 1 | 1 | 1 | 1
peak separation | 10 | 10 | 10 | 10 | 10
decay time | 2694 | 4000 | 8000 | 18 | 4000
digital gain | 8 | 8 | 8 | 8 | 8
offset | 0 | 0 | 0 | 0 | 0
atenuation | YES (10dB) | NO | NO | NO | NO
10ns delay CHAN | 917 | 1698 | 1608 | 1632 | 2600(16ns)
FWHM(ps) Tac Resolution | 26 | 8.9 | 9.18 | 29.8 | 15
CALIB (ps/chan) |  | 5.0282 |  | 4.48 | 5.26
just once?? cannot reproduce

## Sheet2
TAC_1 |  |  | TAC_2 |  |  | TAC_3
Time calibration with KU MCA |  |  | Time calibration with KU MCA |  |  | Time calibration with KU MCA
Position (CH) | Diff(Ch) | Diff(ns) | Position (CH) | Diff(Ch) | Diff(ns) | Position (CH) | Diff(Ch) | Diff(ns)
1402 | 1606 | 0.0062267 | 1516 | 1665 | 0.006006 | 1487 | 1670 | 0.005988
3008 | 1608 | 0.0062189 | 3181 | 1663 | 0.0060132 | 3157 | 1668 | 0.0059952
4616 | 1604 | 0.0062344 | 4844 | 1657 | 0.006035 | 4825 | 1662 | 0.0060168
6220 | 1610 | 0.0062112 | 6501 |  | #¡DIV/0! | 6487
7830
Mean | 0.0062228 | 6.2228 | Mean | 0.0060181 | 6.0181 | Mean | 0.006 | 6
Error | 9.9983e-06 | 0.0099983 | Error | 1.5095e-05 | 0.015095 | Error | 1.5004e-05 | 0.015004
FWHM | Ch | Ps | FWHM | Ch | Ps | FWHM | Ch | Ps
T_Calibrator | 3.76 | 23.3977 | T_Calibrator | 3.24 | 19.4986 | T_Calibrator | 3.19 | 19.1401

## TACs calibration NUTAQ
TAC_1 |  |  | TAC_2 |  |  | TAC_3 |  |  | TAC_4 |  |  | TAC_5 |  |  | TAC_6 |  |  | TAC_7 |  |  | TAC_8 |  |  | TAC_9 |  |  | TAC_10
Time calibration NUTAQ |  |  | Time calibration NUTAQ |  |  | Time calibration NUTAQ |  |  | Time calibration NUTAQ |  |  | Time calibration NUTAQ |  |  | Time calibration NUTAQ |  |  | Time calibration NUTAQ |  |  | Time calibration NUTAQ |  |  | Time calibration NUTAQ |  |  | Time calibration NUTAQ
Position (CH) | Diff(Ch) | Diff(ns) | Position (CH) | Diff(Ch) | Diff(ns) | Position (CH) | Diff(Ch) | Diff(ns) | Position (CH) | Diff(Ch) | Diff(ns) | Position (CH) | Diff(Ch) | Diff(ns) | Position (CH) | Diff(Ch) | Diff(ns) | Position (CH) | Diff(Ch) | Diff(ns) | Position (CH) | Diff(Ch) | Diff(ns) | Position (CH) | Diff(Ch) | Diff(ns) | Position (CH) | Diff(Ch) | Diff(ns)
1512 | 1923 | 0.0052002 | 1634.39 | 1985.36 | 0.0050369 | 1585.79 | 1989.18 | 0.0050272 | 1705.06 | 1901.4 | 0.0052593 | 1631.68 | 1884.86 | 0.0053054 | 1506.34 | 1924.02 | 0.0051975 | 1597.05 | 1926.4 | 0.005191 | 1498.075 | 1891.165 | 0.0052877 | 1491.94 | 1990.28 | 0.0050244 | 1418.62 | 1837.87 | 0.0054411
3435 | 1926 | 0.0051921 | 3619.75 | 1982.06 | 0.0050453 | 3574.97 | 1985.26 | 0.0050371 | 3606.46 | 1902.24 | 0.005257 | 3516.54 | 1885.94 | 0.0053024 | 3430.36 | 1924.22 | 0.0051969 | 3523.45 | 1927.4 | 0.0051883 | 3389.24 | 1890.79 | 0.0052888 | 3482.22 | 1990.49 | 0.0050239 | 3256.49 | 1836.76 | 0.0054444
5361 | 1925 | 0.0051948 | 5601.81 | 1979.62 | 0.0050515 | 5560.23 | 1982.53 | 0.0050441 | 5508.7 | 1901.43 | 0.0052592 | 5402.48 | 1885.76 | 0.0053029 | 5354.58 | 1925.56 | 0.0051933 | 5450.85 | 1926.65 | 0.0051904 | 5280.03 | 1889.74 | 0.0052917 | 5472.71 | 1988.19 | 0.0050297 | 5093.25 | 1835.04 | 0.0054495
7286 | 1927 | 0.0051894 | 7581.43 | 1979.87 | 0.0050508 | 7542.76 | 1683.15 | 0.0059412 | 7410.13 | 1903.26 | 0.0052541 | 7288.24 | 1886.95 | 0.0052996 | 7280.14 | 1926.6 | 0.0051905 | 7377.5 | 1929.21 | 0.0051835 | 7169.77 | 1891.67 | 0.0052863 | 7460.9 | 1987.83 | 0.0050306 | 6928.29 | 1834.27 | 0.0054518
9213 |  |  | 9561.3 |  |  | 9225.91 |  |  | 9313.39 |  |  | 9175.19 |  |  | 9206.74 |  |  | 9306.71 |  |  | 9061.44 |  |  | 9448.73 |  |  | 8762.56
Mean | 0.0051941 | 5.1941 | Mean | 0.0050461 | 5.0461 | Mean | 0.0052624 | 5.2624 | Mean | 0.0052574 | 5.2574 | Mean | 0.0053026 | 5.3026 | Mean | 0.0051945 | 5.1945 |  | 0.0051883 | 5.1883 | Mean | 0.0052886 | 5.2887 | Mean | 0.0050272 | 5.0272 | Mean | 0.0054467 | 5.4467
Error | 4.6091e-06 | 0.0046091 | Error | 6.7633e-06 | 0.0067633 | Error | 0.00045261 | 0.45261 | Error | 2.4211e-06 | 0.0024211 | Error | 2.4095e-06 | 0.0024095 | Error | 3.2681e-06 | 0.0032681 | Error | 3.4167e-06 | 0.0034167 | Error | 2.2882e-06 | 0.0022882 | Error | 3.492e-06 | 0.003492 | Error | 4.8404e-06 | 0.0048404